## Hmi Tags
Name | Path | Connection | PLC tag | DataType | Length | Coding | Access Method | Address | Indirect addressing | Index tag | Start value | ID tag | Comment [de-DE] | Acquisition mode | Acquisition cycle | Limit Upper 2 Type | Limit Upper 2 | Limit Lower 2 Type | Limit Lower 2 | Linear scaling | End value PLC | Start value PLC | End value HMI | Start value HMI
Variable_Bildnummer | Default tag table | <No Value> | <No Value> | UInt | 2 | Binary | <No Value> | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_FlowTemperaturePlant | Default tag table | HMI_Verbindung_1 | Main_DB.FlowTemperaturePlant | Real | 4 | IEEE754 | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Continuous | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_FlowTemperatureFurnace | Default tag table | HMI_Verbindung_1 | Main_DB.FlowTemperatureFurnace | Real | 4 | IEEE754 | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_sAutoMode | Default tag table | HMI_Verbindung_1 | Main_DB.sAutoMode | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Werkspumpe 1 | Q | HMI_Verbindung_1 | "Werkspumpe 1" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Continuous | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Werkspumpe 2 | Q | HMI_Verbindung_1 | "Werkspumpe 2" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Kühlwasserpumpe 1 | Q | HMI_Verbindung_1 | "Kühlwasserpumpe 1" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Kühlwasserpumpe 2 | Q | HMI_Verbindung_1 | "Kühlwasserpumpe 2" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
KT 1 Ventilator | Q | HMI_Verbindung_1 | "KT 1 Ventilator" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
KT 2 Ventilator | Q | HMI_Verbindung_1 | "KT 2 Ventilator" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_Hand_sCt1FanSetPointPerc | Default tag table | HMI_Verbindung_1 | Main_DB.Hand.sCt1FanSetPointPerc | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Continuous | 1 s | Constant | 100 | Constant | 0 | False | 10 | 0 | 100 | 0
Main_DB_Hand_sCt2FanSetPointPerc | Default tag table | HMI_Verbindung_1 | Main_DB.Hand.sCt2FanSetPointPerc | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | Constant | 100 | Constant | 0 | False | 10 | 0 | 100 | 0
Main_DB_Auto_sSetPointMax | Default tag table | HMI_Verbindung_1 | Main_DB.Auto.sSetPointMax | Real | 4 | IEEE754 | Symbolic access | <No Value> | False | <No Value> | 27 | 0 | <No Value> | Cyclic in operation | 1 s | Constant | 100 | Constant | 0 | False | 10 | 0 | 100 | 0
Steuerspannung Ein | I | HMI_Verbindung_1 | "Steuerspannung Ein" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Sicherung Ausgänge OK | I | HMI_Verbindung_1 | "Sicherung Ausgänge OK" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
KT 1 Ventilator Störung | I | HMI_Verbindung_1 | "KT 1 Ventilator Störung" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
KT 1 Ventilator Betrieb | I | HMI_Verbindung_1 | "KT 1 Ventilator Betrieb" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
KT 1 Ventilator RS | I | HMI_Verbindung_1 | "KT 1 Ventilator RS ein" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
KT 2 Ventilator Störung | I | HMI_Verbindung_1 | "KT 2 Ventilator Störung" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
KT 2 Ventilator Betrieb | I | HMI_Verbindung_1 | "KT 2 Ventilator Betrieb" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
KT 2 Ventilator RS | I | HMI_Verbindung_1 | "KT 2 Ventilator RS ein" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Werkspumpe 1 Störung | I | HMI_Verbindung_1 | "Werkspumpe 1 Störung" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Werkspumpe 1 Betrieb | I | HMI_Verbindung_1 | "Werkspumpe 1 Betrieb" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Werkspumpe 2 Störung | I | HMI_Verbindung_1 | "Werkspumpe 2 Störung" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Werkspumpe 2 Betrieb | I | HMI_Verbindung_1 | "Werkspumpe 2 Betrieb" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DI1.4 | I | HMI_Verbindung_1 | "Reserve DI1.4" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DI1.5 | I | HMI_Verbindung_1 | "Reserve DI1.5" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Rundumleuchte Störung | Q | HMI_Verbindung_1 | "Rundumleuchte Störung" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DQ0.7 | Q | HMI_Verbindung_1 | "Reserve DQ0.7" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
KT 1 Sprührohr öffnen | Q | HMI_Verbindung_1 | "KT 1 Sprührohr öffnen" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
KT 2 Sprührohr öffnen | Q | HMI_Verbindung_1 | "KT 2 Sprührohr öffnen" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Vorlauftemperatur Werk | IW | HMI_Verbindung_1 | "Vorlauftemperatur Werk" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Vorlauftemperatur Ofen | IW | HMI_Verbindung_1 | "Vorlauftemperatur Ofen" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
HA 1 Differenzdruck | IW | HMI_Verbindung_1 | "HA 1 Differenzdruck" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
HA 2 Differenzdruck | IW | HMI_Verbindung_1 | "HA 2 Differenzdruck" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve IW132 | IW | HMI_Verbindung_1 | "Reserve IW132" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve IW134 | IW | HMI_Verbindung_1 | "Reserve IW134" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
HA 1 Klappe Durchflußmenge | QW | HMI_Verbindung_1 | "HA 1 Klappe Durchflußmenge" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
KT 1 Ventilator Sollwert | QW | HMI_Verbindung_1 | "KT 1 Ventilator Sollwert" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
KT 2 Ventilator Sollwert | QW | HMI_Verbindung_1 | "KT 2 Ventilator Sollwert" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
HA 2 Klappe Durchflußmenge | QW | HMI_Verbindung_1 | "HA 2 Klappe Durchflußmenge" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Vorlauftemperatur Werk(1) | Scaled | HMI_Verbindung_1 | "Vorlauftemperatur Werk" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | True | 27648 | 0 | 100 | 0
Vorlauftemperatur Ofen(1) | Scaled | HMI_Verbindung_1 | "Vorlauftemperatur Ofen" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | True | 27648 | 0 | 100 | 0
HA 1 Differenzdruck(1) | Scaled | HMI_Verbindung_1 | "HA 1 Differenzdruck" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | True | 27648 | 0 | 100 | 0
HA 2 Differenzdruck(1) | Scaled | HMI_Verbindung_1 | "HA 2 Differenzdruck" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | True | 27648 | 0 | 100 | 0
Reserve IW132(1) | Scaled | HMI_Verbindung_1 | "Reserve IW132" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | True | 27648 | 0 | 100 | 0
Reserve IW134(1) | Scaled | HMI_Verbindung_1 | "Reserve IW134" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | True | 27648 | 0 | 100 | 0
HA 1 Klappe Durchflußmenge(1) | Scaled | HMI_Verbindung_1 | "HA 1 Klappe Durchflußmenge" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | True | 27648 | 0 | 100 | 0
KT 1 Ventilator Sollwert(1) | Scaled | HMI_Verbindung_1 | "KT 1 Ventilator Sollwert" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | True | 27648 | 0 | 100 | 0
KT 2 Ventilator Sollwert(1) | Scaled | HMI_Verbindung_1 | "KT 2 Ventilator Sollwert" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | True | 27648 | 0 | 100 | 0
HA 2 Klappe Durchflußmenge(1) | Scaled | HMI_Verbindung_1 | "HA 2 Klappe Durchflußmenge" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | True | 27648 | 0 | 100 | 0
Kühlwasserpumpe 1 MSS OK | I | HMI_Verbindung_1 | "Kühlwasserpumpe 1 MSS OK" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Kühlwasserpumpe 2 MSS OK | I | HMI_Verbindung_1 | "Kühlwasserpumpe 2 MSS OK" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Ofenpumpe 1 MSS OK | I | HMI_Verbindung_1 | "Ofenpumpe 1 MSS OK" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Ofenpumpe 2 MSS OK | I | HMI_Verbindung_1 | "Ofenpumpe 2 MSS OK" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Kühlwasserpumpe 1 Betrieb | I | HMI_Verbindung_1 | "Kühlwasserpumpe 1 Betrieb" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Kühlwasserpumpe 2 Betrieb | I | HMI_Verbindung_1 | "Kühlwasserpumpe 2 Betrieb" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Ofenpumpe 1 Betrieb | I | HMI_Verbindung_1 | "Ofenpumpe 1 Betrieb" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Continuous | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Ofenpumpe 2 Betrieb | I | HMI_Verbindung_1 | "Ofenpumpe 2 Betrieb" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
KT 1 Sprührohr geöffnet | I | HMI_Verbindung_1 | "KT 1 Sprührohr geöffnet" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
KT 2 Sprührohr geöffnet | I | HMI_Verbindung_1 | "KT 2 Sprührohr geöffnet" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
HA 1 Klappe geöffnet | I | HMI_Verbindung_1 | "HA 1 Klappe geöffnet" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
HA 1 Klappe geschlossen | I | HMI_Verbindung_1 | "HA 1 Klappe geschlossen" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
HA 2 Klappe geöffnet | I | HMI_Verbindung_1 | "HA 2 Klappe geöffnet" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
HA 2 Klappe geschlossen | I | HMI_Verbindung_1 | "HA 2 Klappe geschlossen" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DI9.6 | I | HMI_Verbindung_1 | "Reserve DI9.6" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DI9.7 | I | HMI_Verbindung_1 | "Reserve DI9.7" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
HA 1 Klappe Freigabe | Q | HMI_Verbindung_1 | "HA 1 Klappe Freigabe" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
HA 2 Klappe Freigabe | Q | HMI_Verbindung_1 | "HA 2 Klappe Freigabe" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Ofenpumpe 1 | Q | HMI_Verbindung_1 | "Ofenpumpe 1" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Ofenpumpe 2 | Q | HMI_Verbindung_1 | "Ofenpumpe 2" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DQ8.4 | Q | HMI_Verbindung_1 | "Reserve DQ8.4" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DQ8.5 | Q | HMI_Verbindung_1 | "Reserve DQ8.5" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DQ8.6 | Q | HMI_Verbindung_1 | "Reserve DQ8.6" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DQ8.7 | Q | HMI_Verbindung_1 | "Reserve DQ8.7" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
WSB Magnetventil | Q | HMI_Verbindung_1 | "WSB Magnetventil" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DQ9.1 | Q | HMI_Verbindung_1 | "Reserve DQ9.1" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DQ9.2 | Q | HMI_Verbindung_1 | "Reserve DQ9.2" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DQ9.3 | Q | HMI_Verbindung_1 | "Reserve DQ9.3" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DQ9.4 | Q | HMI_Verbindung_1 | "Reserve DQ9.4" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DQ9.5 | Q | HMI_Verbindung_1 | "Reserve DQ9.5" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DQ9.6 | Q | HMI_Verbindung_1 | "Reserve DQ9.6" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DQ9.7 | Q | HMI_Verbindung_1 | "Reserve DQ9.7" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Absalzanlage läuft | I | HMI_Verbindung_1 | "Absalzanlage läuft" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
WSB OUT1 | I | HMI_Verbindung_1 | "WSB OUT1" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
WSB OUT2 | I | HMI_Verbindung_1 | "WSB OUT2" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
WSB OUT3 | I | HMI_Verbindung_1 | "WSB OUT3" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
WSB OUT4 | I | HMI_Verbindung_1 | "WSB OUT4" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DI12.5 | I | HMI_Verbindung_1 | "Reserve DI12.5" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DI12.6 | I | HMI_Verbindung_1 | "Reserve DI12.6" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DI12.7 | I | HMI_Verbindung_1 | "Reserve DI12.7" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DI13.0 | I | HMI_Verbindung_1 | "Reserve DI13.0" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DI13.1 | I | HMI_Verbindung_1 | "Reserve DI13.1" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DI13.2 | I | HMI_Verbindung_1 | "Reserve DI13.2" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DI13.3 | I | HMI_Verbindung_1 | "Reserve DI13.3" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DI13.4 | I | HMI_Verbindung_1 | "Reserve DI13.4" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DI13.5 | I | HMI_Verbindung_1 | "Reserve DI13.5" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DI13.6 | I | HMI_Verbindung_1 | "Reserve DI13.6" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DI13.7 | I | HMI_Verbindung_1 | "Reserve DI13.7" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{0}_sCv | RuntimeMeters | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[0].sCv | DInt | 4 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{1}_sCv | RuntimeMeters | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[1].sCv | DInt | 4 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{2}_sCv | RuntimeMeters | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[2].sCv | DInt | 4 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{3}_sCv | RuntimeMeters | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[3].sCv | DInt | 4 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{4}_sCv | RuntimeMeters | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[4].sCv | DInt | 4 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{5}_sCv | RuntimeMeters | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[5].sCv | DInt | 4 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{6}_sCv | RuntimeMeters | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[6].sCv | DInt | 4 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{7}_sCv | RuntimeMeters | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[7].sCv | DInt | 4 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{8}_sCv | RuntimeMeters | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[8].sCv | DInt | 4 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{9}_sCv | RuntimeMeters | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[9].sCv | DInt | 4 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{0}_sCq | RuntimeMeters | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[0].sCq | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{1}_sCq | RuntimeMeters | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[1].sCq | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{2}_sCq | RuntimeMeters | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[2].sCq | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{3}_sCq | RuntimeMeters | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[3].sCq | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{4}_sCq | RuntimeMeters | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[4].sCq | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{5}_sCq | RuntimeMeters | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[5].sCq | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{6}_sCq | RuntimeMeters | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[6].sCq | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{7}_sCq | RuntimeMeters | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[7].sCq | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{8}_sCq | RuntimeMeters | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[8].sCq | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{9}_sCq | RuntimeMeters | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[9].sCq | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{0}_iClk | RuntimeMeters | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[0].iClk | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{1}_iClk | RuntimeMeters | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[1].iClk | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{2}_iClk | RuntimeMeters | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[2].iClk | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{3}_iClk | RuntimeMeters | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[3].iClk | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{4}_iClk | RuntimeMeters | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[4].iClk | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{5}_iClk | RuntimeMeters | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[5].iClk | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{6}_iClk | RuntimeMeters | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[6].iClk | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{7}_iClk | RuntimeMeters | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[7].iClk | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{8}_iClk | RuntimeMeters | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[8].iClk | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{9}_iClk | RuntimeMeters | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[9].iClk | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_HMI_StorageTankRefill | Default tag table | HMI_Verbindung_1 | Main_DB.HMI.StorageTankRefill | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_Alarm_sCvOff | Alarm | HMI_Verbindung_1 | Main_DB.AlwaysRUN.Alarm.sCvOff | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Continuous | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_Alarm_sFuseOutputsErr | Alarm | HMI_Verbindung_1 | Main_DB.AlwaysRUN.Alarm.sFuseOutputsErr | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Continuous | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_Alarm_sCt1FanErr | Alarm | HMI_Verbindung_1 | Main_DB.AlwaysRUN.Alarm.sCt1FanErr | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Continuous | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_Alarm_sCt1RepairSwitchOff | Alarm | HMI_Verbindung_1 | Main_DB.AlwaysRUN.Alarm.sCt1RepairSwitchOff | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Continuous | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_Alarm_sCt2FanErr | Alarm | HMI_Verbindung_1 | Main_DB.AlwaysRUN.Alarm.sCt2FanErr | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Continuous | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_Alarm_sCt2RepairSwitchOff | Alarm | HMI_Verbindung_1 | Main_DB.AlwaysRUN.Alarm.sCt2RepairSwitchOff | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Continuous | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_Alarm_sPumpPlant1Err | Alarm | HMI_Verbindung_1 | Main_DB.AlwaysRUN.Alarm.sPumpPlant1Err | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Continuous | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_Alarm_sPumpPlant2Err | Alarm | HMI_Verbindung_1 | Main_DB.AlwaysRUN.Alarm.sPumpPlant2Err | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Continuous | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_Alarm_sPumpCoolWater1Err | Alarm | HMI_Verbindung_1 | Main_DB.AlwaysRUN.Alarm.sPumpCoolWater1Err | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Continuous | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_Alarm_sPumpCoolWater2Err | Alarm | HMI_Verbindung_1 | Main_DB.AlwaysRUN.Alarm.sPumpCoolWater2Err | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Continuous | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_Alarm_sPumpFurnace1Err | Alarm | HMI_Verbindung_1 | Main_DB.AlwaysRUN.Alarm.sPumpFurnace1Err | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Continuous | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_Alarm_sPumpFurnace2Err | Alarm | HMI_Verbindung_1 | Main_DB.AlwaysRUN.Alarm.sPumpFurnace2Err | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Continuous | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_Alarm_sFlowTemperaturePlantHot | Alarm | HMI_Verbindung_1 | Main_DB.AlwaysRUN.Alarm.sFlowTempPlantHot | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Continuous | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_Alarm_sFlowTemperatureFurnaceHot | Alarm | HMI_Verbindung_1 | Main_DB.AlwaysRUN.Alarm.sFlowTempFurnaceHot | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Continuous | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_Alarm_sPressureDeltaPerc1 | Alarm | HMI_Verbindung_1 | Main_DB.AlwaysRUN.Alarm.sPressureDeltaPerc1 | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Continuous | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_Alarm_sPressureDeltaPerc2 | Alarm | HMI_Verbindung_1 | Main_DB.AlwaysRUN.Alarm.sPressureDeltaPerc2 | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Continuous | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_Alarm_sSurgeTankRunDry | Alarm | HMI_Verbindung_1 | Main_DB.AlwaysRUN.Alarm.sSurgeTankRunDry | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Continuous | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_Alarm_sSurgeTankOverflow | Alarm | HMI_Verbindung_1 | Main_DB.AlwaysRUN.Alarm.sSurgeTankOverflow | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Continuous | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_Alarm_sSprayPipeOpenTimeout1 | Alarm | HMI_Verbindung_1 | Main_DB.AlwaysRUN.Alarm.sSprayPipeOpenTimeout1 | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Continuous | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_Alarm_sSprayPipeOpenTimeout2 | Alarm | HMI_Verbindung_1 | Main_DB.AlwaysRUN.Alarm.sSprayPipeOpenTimeout2 | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Continuous | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
HmiDb_sPumpPlant1 | Default tag table | HMI_Verbindung_1 | HmiDb.sPumpPlant1 | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_sSurgeTankLevel | Default tag table | HMI_Verbindung_1 | Main_DB.sSurgeTankLevelXXX | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
HmiDb_sPumpPlant2 | Default tag table | HMI_Verbindung_1 | HmiDb.sPumpPlant2 | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
HmiDb_sPumpCoolWater2 | Default tag table | HMI_Verbindung_1 | HmiDb.sPumpCoolWater2 | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
HmiDb_sPumpCoolWater1 | Default tag table | HMI_Verbindung_1 | HmiDb.sPumpCoolWater1 | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
HmiDb_sPumpFurnace1 | Default tag table | HMI_Verbindung_1 | HmiDb.sPumpFurnace1 | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
HmiDb_sPumpFurnace2 | Default tag table | HMI_Verbindung_1 | HmiDb.sPumpFurnace2 | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
HmiDb_sCt1Fan | Default tag table | HMI_Verbindung_1 | HmiDb.sCt1Fan | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 100 ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
HmiDb_sCt2Fan | Default tag table | HMI_Verbindung_1 | HmiDb.sCt2Fan | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 100 ms | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Retain_DB_Settings_SurgeTankLevel_Overflow | Default tag table | HMI_Verbindung_1 | Retain_DB.Settings.SurgeTankLevel.Overflow | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | Constant | 15 | Tag | Retain_DB_Settings_SurgeTankLevel_SetPointUpper | False | 10 | 0 | 100 | 0
Retain_DB_Settings_SurgeTankLevel_SetPointUpper | Default tag table | HMI_Verbindung_1 | Retain_DB.Settings.SurgeTankLevel.SetPointUpper | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | Tag | Retain_DB_Settings_SurgeTankLevel_Overflow | Tag | Retain_DB_Settings_SurgeTankLevel_SetPointLower | False | 10 | 0 | 100 | 0
Retain_DB_Settings_SurgeTankLevel_SetPointLower | Default tag table | HMI_Verbindung_1 | Retain_DB.Settings.SurgeTankLevel.SetPointLower | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | Tag | Retain_DB_Settings_SurgeTankLevel_SetPointUpper | Tag | Retain_DB_Settings_SurgeTankLevel_RunDry | False | 10 | 0 | 100 | 0
Retain_DB_Settings_SurgeTankLevel_RunDry | Default tag table | HMI_Verbindung_1 | Retain_DB.Settings.SurgeTankLevel.RunDry | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | Tag | Retain_DB_Settings_SurgeTankLevel_SetPointLower | Constant | 0 | False | 10 | 0 | 100 | 0
HmiDb_sCt1SprayPipe | Default tag table | HMI_Verbindung_1 | HmiDb.sCt1SprayPipe | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
HmiDb_sCt2SprayPipe | Default tag table | HMI_Verbindung_1 | HmiDb.sCt2SprayPipe | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
HmiDb_sAutoMode | Default tag table | HMI_Verbindung_1 | HmiDb.sAutoMode | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
HmiDb_sSurgeTankRefill | Default tag table | HMI_Verbindung_1 | HmiDb.sSurgeTankRefill | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0

## Multiplexing
HMI Tag name | Multiplex Tag | Index