## Hmi Tags
Name | Path | Connection | PLC tag | DataType | Length | Coding | Access Method | Address | Indirect addressing | Index tag | Start value | ID tag | Comment [de-DE] | Acquisition mode | Acquisition cycle | Limit Upper 2 Type | Limit Upper 2 | Limit Lower 2 Type | Limit Lower 2 | Linear scaling | End value PLC | Start value PLC | End value HMI | Start value HMI
Variable_Bildnummer | Standard-Variablentabelle | <No Value> | <No Value> | UInt | 2 | Binary | <No Value> | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Global-DB_Vorlauftemperatur | Standard-Variablentabelle | HMI_Verbindung_1 | "Global-DB".Vorlauftemperatur | Real | 4 | IEEE754 | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Continuous | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Global-DB_Ruecklauftemperatur | Standard-Variablentabelle | HMI_Verbindung_1 | "Global-DB".Ruecklauftemperatur | Real | 4 | IEEE754 | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Global-DB_Auto | Standard-Variablentabelle | HMI_Verbindung_1 | "Global-DB".Auto | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Pumpe 1 | Standard-Variablentabelle | HMI_Verbindung_1 | "Pumpe 1" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Continuous | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Pumpe 2 | Standard-Variablentabelle | HMI_Verbindung_1 | "Pumpe 2" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Pumpe 3 | Standard-Variablentabelle | HMI_Verbindung_1 | "Pumpe 3" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Pumpe 4 | Standard-Variablentabelle | HMI_Verbindung_1 | "Pumpe 4" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Ventilator 1 | Standard-Variablentabelle | HMI_Verbindung_1 | "Ventilator 1" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Ventilator 2 | Standard-Variablentabelle | HMI_Verbindung_1 | "Ventilator 2" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_Hand_static_Vent1SollP | Standard-Variablentabelle | HMI_Verbindung_1 | Main_DB.Hand.static_Vent1SollP | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Continuous | 1 s | Constant | 100 | Constant | 0 | False | 10 | 0 | 100 | 0
Main_DB_Hand_static_Vent2SollP | Standard-Variablentabelle | HMI_Verbindung_1 | Main_DB.Hand.static_Vent2SollP | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | Constant | 100 | Constant | 0 | False | 10 | 0 | 100 | 0
Main_DB_Auto_s_Max | Standard-Variablentabelle | HMI_Verbindung_1 | Main_DB.Auto.s_Max | Real | 4 | IEEE754 | Symbolic access | <No Value> | False | <No Value> | 27 | 0 | <No Value> | Cyclic in operation | 1 s | Constant | 100 | Constant | 0 | False | 10 | 0 | 100 | 0
Steuerspannung Ein | Standard-Variablentabelle | HMI_Verbindung_1 | "Steuerspannung Ein" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Sicherung Ausgänge OK | Standard-Variablentabelle | HMI_Verbindung_1 | "Sicherung Ausgänge OK" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Ventilator 1 Betrieb | Standard-Variablentabelle | HMI_Verbindung_1 | "Ventilator 1 Betrieb" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Ventilator 1 Störung | Standard-Variablentabelle | HMI_Verbindung_1 | "Ventilator 1 Störung" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Ventilator 1 Reparaturschalter ein | Standard-Variablentabelle | HMI_Verbindung_1 | "Ventilator 1 Reparaturschalter ein" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Ventilator 2 Betrieb | Standard-Variablentabelle | HMI_Verbindung_1 | "Ventilator 2 Betrieb" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Ventilator 2 Störung | Standard-Variablentabelle | HMI_Verbindung_1 | "Ventilator 2 Störung" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Ventilator 2 Reparaturschalter ein | Standard-Variablentabelle | HMI_Verbindung_1 | "Ventilator 2 Reparaturschalter ein" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Störung Pumpe 1 | Standard-Variablentabelle | HMI_Verbindung_1 | "Störung Pumpe 1" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Betrieb Pumpe 1 | Standard-Variablentabelle | HMI_Verbindung_1 | "Betrieb Pumpe 1" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Störung Pumpe 2 | Standard-Variablentabelle | HMI_Verbindung_1 | "Störung Pumpe 2" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Betrieb Pumpe 2 | Standard-Variablentabelle | HMI_Verbindung_1 | "Betrieb Pumpe 2" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Motorschutzschalter Pumpe 3 OK | Standard-Variablentabelle | HMI_Verbindung_1 | "Motorschutzschalter Pumpe 3 OK" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Betrieb Pumpe 3 | Standard-Variablentabelle | HMI_Verbindung_1 | "Betrieb Pumpe 3" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Rundumleuchte Störung | Standard-Variablentabelle | HMI_Verbindung_1 | "Rundumleuchte Störung" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DQ 1 | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve DQ 1" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
ZU-Klappen 1 öffnen | Standard-Variablentabelle | HMI_Verbindung_1 | "ZU-Klappen 1 öffnen" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
ZU-Klappen 2 öffnen | Standard-Variablentabelle | HMI_Verbindung_1 | "ZU-Klappen 2 öffnen" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Vorlauftemperatur | Standard-Variablentabelle | HMI_Verbindung_1 | Vorlauftemperatur | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Ruecklauftemperatur | Standard-Variablentabelle | HMI_Verbindung_1 | Ruecklauftemperatur | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Hebeanlage 1 Differenzdruck | Standard-Variablentabelle | HMI_Verbindung_1 | "Hebeanlage 1 Differenzdruck" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Hebeanlage 2 Differenzdruck | Standard-Variablentabelle | HMI_Verbindung_1 | "Hebeanlage 2 Differenzdruck" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve IW 1 | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve IW 1" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve IW 2 | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve IW 2" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Hebeanlage 1 Durchflußmenge | Standard-Variablentabelle | HMI_Verbindung_1 | "Hebeanlage 1 Durchflußmenge" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Sollwert Ventilator 1 | Standard-Variablentabelle | HMI_Verbindung_1 | "Sollwert Ventilator 1" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Sollwert Ventilator 2 | Standard-Variablentabelle | HMI_Verbindung_1 | "Sollwert Ventilator 2" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Hebeanlage 2 Durchflußmenge | Standard-Variablentabelle | HMI_Verbindung_1 | "Hebeanlage 2 Durchflußmenge" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Vorlauftemperatur(1) | Standard-Variablentabelle | HMI_Verbindung_1 | Vorlauftemperatur | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | True | 27648 | 0 | 100 | 0
Ruecklauftemperatur(1) | Standard-Variablentabelle | HMI_Verbindung_1 | Ruecklauftemperatur | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | True | 27648 | 0 | 100 | 0
Hebeanlage 1 Differenzdruck(1) | Standard-Variablentabelle | HMI_Verbindung_1 | "Hebeanlage 1 Differenzdruck" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | True | 27648 | 0 | 100 | 0
Hebeanlage 2 Differenzdruck(1) | Standard-Variablentabelle | HMI_Verbindung_1 | "Hebeanlage 2 Differenzdruck" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | True | 27648 | 0 | 100 | 0
Reserve IW 1(1) | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve IW 1" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | True | 27648 | 0 | 100 | 0
Reserve IW 2(1) | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve IW 2" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | True | 27648 | 0 | 100 | 0
Hebeanlage 1 Durchflußmenge(1) | Standard-Variablentabelle | HMI_Verbindung_1 | "Hebeanlage 1 Durchflußmenge" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | True | 27648 | 0 | 100 | 0
Sollwert Ventilator 1(1) | Standard-Variablentabelle | HMI_Verbindung_1 | "Sollwert Ventilator 1" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | True | 27648 | 0 | 100 | 0
Sollwert Ventilator 2(1) | Standard-Variablentabelle | HMI_Verbindung_1 | "Sollwert Ventilator 2" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | True | 27648 | 0 | 100 | 0
Hebeanlage 2 Durchflußmenge(1) | Standard-Variablentabelle | HMI_Verbindung_1 | "Hebeanlage 2 Durchflußmenge" | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | True | 27648 | 0 | 100 | 0
Motorschutzschalter Pumpe 4 OK | Standard-Variablentabelle | HMI_Verbindung_1 | "Motorschutzschalter Pumpe 4 OK" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Betrieb Pumpe 4 | Standard-Variablentabelle | HMI_Verbindung_1 | "Betrieb Pumpe 4" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Motorschutzschalter Hebeanlage 1 | Standard-Variablentabelle | HMI_Verbindung_1 | "Motorschutzschalter Hebeanlage 1" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Motorschutzschalter Hebeanlage 2 | Standard-Variablentabelle | HMI_Verbindung_1 | "Motorschutzschalter Hebeanlage 2" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DI 1 | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve DI 1" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DI 2 | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve DI 2" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DI 3 | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve DI 3" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DI 4 | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve DI 4" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
ZU-Klappen 1 geöffnet | Standard-Variablentabelle | HMI_Verbindung_1 | "ZU-Klappen 1 geöffnet" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
ZU-Klappen 2 geöffnet | Standard-Variablentabelle | HMI_Verbindung_1 | "ZU-Klappen 2 geöffnet" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Hebeanlage 1 Klappe geöffnet | Standard-Variablentabelle | HMI_Verbindung_1 | "Hebeanlage 1 Klappe geöffnet" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Hebeanlage 2 Klappe geöffnet | Standard-Variablentabelle | HMI_Verbindung_1 | "Hebeanlage 2 Klappe geöffnet" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Behälter Hebeanlage Trockenlaufschutz | Standard-Variablentabelle | HMI_Verbindung_1 | "Behälter Hebeanlage Trockenlaufschutz" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Behälter Hebeanlage Pumpe ein | Standard-Variablentabelle | HMI_Verbindung_1 | "Behälter Hebeanlage Pumpe ein" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Behälter Hebeanlage Pumpe aus | Standard-Variablentabelle | HMI_Verbindung_1 | "Behälter Hebeanlage Pumpe aus" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Behälter Hebeanlage Überlauf | Standard-Variablentabelle | HMI_Verbindung_1 | "Behälter Hebeanlage Überlauf" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Hebeanlage 1 öffnen | Standard-Variablentabelle | HMI_Verbindung_1 | "Hebeanlage 1 öffnen" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Hebeanlage 2 öffnen | Standard-Variablentabelle | HMI_Verbindung_1 | "Hebeanlage 2 öffnen" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Pumpe Hebeanlage 1 | Standard-Variablentabelle | HMI_Verbindung_1 | "Pumpe Hebeanlage 1" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Pumpe Hebeanlage 2 | Standard-Variablentabelle | HMI_Verbindung_1 | "Pumpe Hebeanlage 2" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DQ 2 | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve DQ 2" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DQ 3 | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve DQ 3" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DQ 4 | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve DQ 4" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DQ 5 | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve DQ 5" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DQ 6 | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve DQ 6" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DQ 7 | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve DQ 7" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DQ 8 | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve DQ 8" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DQ 9 | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve DQ 9" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DQ 10 | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve DQ 10" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DQ 11 | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve DQ 11" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DQ 12 | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve DQ 12" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DQ 13 | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve DQ 13" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Absalzanlage Impuls | Standard-Variablentabelle | HMI_Verbindung_1 | "Absalzanlage Impuls" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DI 5 | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve DI 5" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DI 6 | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve DI 6" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DI 7 | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve DI 7" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DI 8 | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve DI 8" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DI 9 | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve DI 9" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DI 10 | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve DI 10" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DI 11 | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve DI 11" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DI 12 | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve DI 12" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DI 13 | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve DI 13" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DI 14 | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve DI 14" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DI 15 | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve DI 15" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DI 16 | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve DI 16" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DI 17 | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve DI 17" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DI 18 | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve DI 18" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Reserve DI 19 | Standard-Variablentabelle | HMI_Verbindung_1 | "Reserve DI 19" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{0}_s_CV | Standard-Variablentabelle | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[0].s_CV | DInt | 4 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{1}_s_CV | Standard-Variablentabelle | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[1].s_CV | DInt | 4 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{2}_s_CV | Standard-Variablentabelle | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[2].s_CV | DInt | 4 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{3}_s_CV | Standard-Variablentabelle | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[3].s_CV | DInt | 4 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{4}_s_CV | Standard-Variablentabelle | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[4].s_CV | DInt | 4 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{5}_s_CV | Standard-Variablentabelle | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[5].s_CV | DInt | 4 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{6}_s_CV | Standard-Variablentabelle | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[6].s_CV | DInt | 4 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{7}_s_CV | Standard-Variablentabelle | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[7].s_CV | DInt | 4 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{8}_s_CV | Standard-Variablentabelle | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[8].s_CV | DInt | 4 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{9}_s_CV | Standard-Variablentabelle | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[9].s_CV | DInt | 4 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{0}_s_CQ | Standard-Variablentabelle | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[0].s_CQ | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{1}_s_CQ | Standard-Variablentabelle | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[1].s_CQ | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{2}_s_CQ | Standard-Variablentabelle | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[2].s_CQ | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{3}_s_CQ | Standard-Variablentabelle | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[3].s_CQ | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{4}_s_CQ | Standard-Variablentabelle | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[4].s_CQ | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{5}_s_CQ | Standard-Variablentabelle | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[5].s_CQ | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{6}_s_CQ | Standard-Variablentabelle | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[6].s_CQ | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{7}_s_CQ | Standard-Variablentabelle | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[7].s_CQ | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{8}_s_CQ | Standard-Variablentabelle | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[8].s_CQ | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{9}_s_CQ | Standard-Variablentabelle | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[9].s_CQ | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{0}_i_CLK | Standard-Variablentabelle | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[0].i_CLK | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{1}_i_CLK | Standard-Variablentabelle | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[1].i_CLK | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{2}_i_CLK | Standard-Variablentabelle | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[2].i_CLK | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{3}_i_CLK | Standard-Variablentabelle | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[3].i_CLK | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{4}_i_CLK | Standard-Variablentabelle | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[4].i_CLK | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{5}_i_CLK | Standard-Variablentabelle | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[5].i_CLK | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{6}_i_CLK | Standard-Variablentabelle | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[6].i_CLK | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{7}_i_CLK | Standard-Variablentabelle | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[7].i_CLK | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{8}_i_CLK | Standard-Variablentabelle | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[8].i_CLK | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Main_DB_AlwaysRUN_RuntimeMeters_SRTM{9}_i_CLK | Standard-Variablentabelle | HMI_Verbindung_1 | Main_DB.AlwaysRUN.RuntimeMeters.SRTM[9].i_CLK | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0

## Multiplexing
HMI Tag name | Multiplex Tag | Index